## ATT&CK for ICS (v9)
Initial Access | Execution | Persistence | Privilege Escalation | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control | Impact
Data Historian Compromise | Hooking | Modify Program | Exploitation for Privilege Escalation | Exploitation for Evasion | Network Connection Enumeration | Exploitation of Remote Services | Man in the Middle | Commonly Used Port | Denial of Service | Modify Parameter | Denial of Control
Drive-by Compromise | Modify Controller Tasking | Project File Infection | Hooking | Indicator Removal on Host | Network Sniffing | Remote Services | Automated Collection | Connection Proxy | Modify Alarm Settings | Spoof Reporting Message | Denial of View
Engineering Workstation Compromise | Change Operating Mode | Valid Accounts |  | Masquerading | Remote System Discovery | Valid Accounts | Data from Information Repositories | Standard Application Layer Protocol | Rootkit | Unauthorized Command Message | Damage to Property
Exploitation of Remote Services | Command-Line Interface | Module Firmware |  | Rootkit | Remote System Information Discovery | Default Credentials | Detect Operating Mode |  | Activate Firmware Update Mode | Brute Force I/O | Loss of Availability
External Remote Services | Execution through API | System Firmware |  | Spoof Reporting Message | Wireless Sniffing | Lateral Tool Transfer | I/O Image |  | Alarm Suppression | Module Firmware | Loss of Control
Remote Services | Graphical User Interface |  |  | Change Operating Mode |  | Program Download | Monitor Process State |  | Block Command Message |  | Loss of Productivity and Revenue
Rogue Master | Native API | [5 empty] | Point & Tag Identification |  | Block Reporting Message |  | Loss of Protection
Supply Chain Compromise | Scripting | [5 empty] | Program Upload |  | Block Serial COM |  | Loss of Safety
Exploit Public-Facing Application | User Execution | [5 empty] | Screen Capture |  | Data Destruction |  | Loss of View
Internet Accessible Device | [6 empty] | Wireless Sniffing |  | Device Restart/Shutdown |  | Manipulation of Control
Replication Through Removable Media | [8 empty] | Manipulate I/O Image |  | Manipulation of View
Spearphishing Attachment | [8 empty] | Service Stop |  | Theft of Operational Information
Wireless Compromise | [8 empty] | System Firmware